## Sheet1
Data Bytes Received from EEPROM (MSB always first)
Array Address Starting at 0
0
1
| 0 | 128 | Number of LVD Days | The number of days which contain an occurrence of "Low Voltage Disconnect" meaning that the load was disconnected in order to protect the battery.
| 1 | 129
| 2 | 130 | Months without full charge | The number of months that the battery has not been fully charged.
| 3 | 131 | reserved | Nothing is currently stored here.
| 4 | 132 | Sum of Morning SOCs | Total sum of SOC percentages measured one minute after dawn. Divide by number of days to get the average morning SOC.
| 5 | 133
| 6 | 134 | AH Charge | Cumulative Charging amp hours.
| 7 | 135
| 8 | 136
| 9 | 137
| 10 | 138 | AH Load | Cumulative amp hours consumed by the load.
| 11 | 139
| 12 | 140
| 13 | 141
| 14 | 142 | Number of Days | The total number of days that the CXNsolid has been running.
| 15 | 143
| 16 | 144
0 | 17 | 145 | Date in bits | Year: bit 0bit 6, Month: bit 7-bit 10, Day: bit 11-bit 15 Example: 0xBD0F = 2015-10-23
| 18 | 146
1 | 19 | 147 | Inverter Factor | Total Watt Hours = (Inverter Factor*0.1)*(Inverter Power Rating)
2 | 20 | 148 | Day 1 Max Battery Voltage
3 | 21 | 149 | Day 1 Min Battery Voltage
4 | 22 | 150 | Day 1 Ah In
| 23 | 151
5 | 24 | 152 | Day 1 Ah Out
| 25 | 153
6 | 26 | 154 | Day 1 Max PV Voltage
7 | 27 | 155 | Day 1 Min PV Voltage
8 | 28 | 156 | Day 1 Max Load Current
9 | 29 | 157 | Day 1 Max Charge Current
10 | 30 | 158 | Day 1 SOC | SOC measure 1 minute after dawn.
11 | 31 | 159 | Day 1 Max External Temperature
12 | 32 | 160 | Day 1 Min External Temperature
13 | 33 | 161 | Day 1 Nightlength
14 | 34 | 162 | State
| 35 | 163
| 36 | 164
| 37 | 165
| 38 | 166
| 39 | 167
| 40 | 168
| 41 | 169
| 42 | 170
| 43 | 171
| 44 | 172
| 45 | 173
| 46 | 174
| 47 | 175
| 48 | 176
| 49 | 177
| 50 | 178
| 51 | 179
| 52 | 180
| 53 | 181
| 54 | 182
| 55 | 183
| 56 | 184
| 57 | 185
| 58 | 186
| 59 | 187
| 60 | 188
| 61 | 189
| 62 | 190
| 63 | 191
| 64 | 192
| 65 | 193
| 66 | 194
| 67 | 195
| 68 | 196
| 69 | 197
| 70 | 198
| 71 | 199
| 72 | 200
| 73 | 201
| 74 | 202
| 75 | 203
| 76 | 204
| 77 | 205
| 78 | 206
| 79 | 207
| 80 | 208
| 81 | 209
| 82 | 210
| 83 | 211
| 84 | 212
| 85 | 213
| 86 | 214
| 87 | 215
| 88 | 216
| 89 | 217
| 90 | 218
| 91 | 219
| 92 | 220
| 93 | 221
| 94 | 222
| 95 | 223
| 96 | 224
| 97 | 225
| 98 | 226
| 99 | 227
| 100 | 228
| 101 | 229
| 102 | 230
| 103 | 231
| 104 | 232
| 105 | 233
| 106 | 234
| 107 | 235
| 108 | 236
| 109 | 237
| 110 | 238
| 111 | 239
| 112 | 240
| 113 | 241
| 114 | 242
| 115 | 243
| 116 | 244
| 117 | 245
| 118 | 246
| 119 | 247
| 120 | 248
| 121 | 249
| 122 | 250
| 123 | 251
| 124 | 252
| 125 | 253
| 126 | 254
| 127 | 255
| 128 | 256
| 129 | 257
| 130 | 258
| 131 | 259
| 132 | 260
| 133 | 261
| 134 | 262
| 135 | 263
| 136 | 264
| 137 | 265
| 138 | 266
| 139 | 267
| 140 | 268
| 141 | 269
| 142 | 270
| 143 | 271
| 144 | 272
| 145 | 273
| 146 | 274
| 147 | 275
| 148 | 276
| 149 | 277
| 150 | 278
| 151 | 279
| 152 | 280
| 153 | 281
| 154 | 282
| 155 | 283
| 156 | 284
| 157 | 285
| 158 | 286
| 159 | 287
| 160 | 288
| 161 | 289
| 162 | 290
| 163 | 291
| 164 | 292
| 165 | 293
| 166 | 294
| 167 | 295
| 168 | 296
| 169 | 297
| 170 | 298
| 171 | 299
| 172 | 300
| 173 | 301
| 174 | 302
| 175 | 303
| 176 | 304
| 177 | 305
| 178 | 306
| 179 | 307
| 180 | 308
| 181 | 309
| 182 | 310
| 183 | 311
| 184 | 312
| 185 | 313
| 186 | 314
| 187 | 315
| 188 | 316
| 189 | 317
| 190 | 318
| 191 | 319
| 192 | 320
| 193 | 321
| 194 | 322
| 195 | 323
| 196 | 324
| 197 | 325
| 198 | 326
| 199 | 327
| 200 | 328
| 201 | 329
| 202 | 330
| 203 | 331
| 204 | 332
| 205 | 333
| 206 | 334
| 207 | 335
| 208 | 336
| 209 | 337
| 210 | 338
| 211 | 339
| 212 | 340
| 213 | 341
| 214 | 342
| 215 | 343
| 216 | 344
| 217 | 345
| 218 | 346
| 219 | 347
| 220 | 348
| 221 | 349
| 222 | 350
| 223 | 351
| 224 | 352
| 225 | 353
| 226 | 354
| 227 | 355
| 228 | 356
| 229 | 357
| 230 | 358
| 231 | 359
| 232 | 360
| 233 | 361
| 234 | 362
| 235 | 363
| 236 | 364
| 237 | 365
| 238 | 366
| 239 | 367
| 240 | 368
| 241 | 369
| 242 | 370
| 243 | 371
| 244 | 372
| 245 | 373
| 246 | 374
| 247 | 375
| 248 | 376
| 249 | 377
| 250 | 378
| 251 | 379
| 252 | 380
| 253 | 381
| 254 | 382
| 255 | 383
| 256 | 384
| 257 | 385
| 258 | 386
| 259 | 387
| 260 | 388
| 261 | 389
| 262 | 390
| 263 | 391
| 264 | 392
| 265 | 393
| 266 | 394
| 267 | 395
| 268 | 396
| 269 | 397
| 270 | 398
| 271 | 399
| 272 | 400
| 273 | 401
| 274 | 402
| 275 | 403
| 276 | 404
| 277 | 405
| 278 | 406
| 279 | 407
| 280 | 408
| 281 | 409
| 282 | 410
| 283 | 411
| 284 | 412
| 285 | 413
| 286 | 414
| 287 | 415
| 288 | 416
| 289 | 417
| 290 | 418
| 291 | 419
| 292 | 420
| 293 | 421
| 294 | 422
| 295 | 423
| 296 | 424
| 297 | 425
| 298 | 426
| 299 | 427
| 300 | 428
| 301 | 429
| 302 | 430
| 303 | 431
| 304 | 432
| 305 | 433
| 306 | 434
| 307 | 435
| 308 | 436
| 309 | 437
| 310 | 438
| 311 | 439
| 312 | 440
| 313 | 441
| 314 | 442
| 315 | 443
| 316 | 444
| 317 | 445
| 318 | 446
| 319 | 447
| 320 | 448
| 321 | 449
| 322 | 450
| 323 | 451
| 324 | 452
| 325 | 453
| 326 | 454
| 327 | 455
| 328 | 456
| 329 | 457
| 330 | 458
| 331 | 459
| 332 | 460
| 333 | 461
| 334 | 462
| 335 | 463
| 336 | 464
| 337 | 465
| 338 | 466
| 339 | 467
| 340 | 468
| 341 | 469
| 342 | 470
| 343 | 471
| 344 | 472
| 345 | 473
| 346 | 474
| 347 | 475
| 348 | 476
| 349 | 477
| 350 | 478
| 351 | 479
| 352 | 480
| 353 | 481
| 354 | 482
| 355 | 483
| 356 | 484
| 357 | 485
| 358 | 486
| 359 | 487
| 360 | 488
| 361 | 489
| 362 | 490
| 363 | 491
| 364 | 492
| 365 | 493
| 366 | 494
| 367 | 495
| 368 | 496
| 369 | 497
| 370 | 498
| 371 | 499
| 372 | 500
| 373 | 501
| 374 | 502
| 375 | 503
| 376 | 504
| 377 | 505
| 378 | 506
| 379 | 507
| 380 | 508
| 381 | 509
| 382 | 510
| 383 | 511
| 384 | 512
| 385 | 513
| 386 | 514
| 387 | 515
| 388 | 516
| 389 | 517
| 390 | 518
| 391 | 519
| 392 | 520
| 393 | 521
| 394 | 522
| 395 | 523
| 396 | 524
| 397 | 525
| 398 | 526
| 399 | 527
| 400 | 528
| 401 | 529
| 402 | 530
| 403 | 531
| 404 | 532
| 405 | 533
| 406 | 534
| 407 | 535
| 408 | 536
| 409 | 537
| 410 | 538
| 411 | 539
| 412 | 540
| 413 | 541
| 414 | 542
| 415 | 543
| 416 | 544
| 417 | 545
| 418 | 546
| 419 | 547
| 420 | 548
| 421 | 549
| 422 | 550
| 423 | 551
| 424 | 552
| 425 | 553
| 426 | 554
| 427 | 555
| 428 | 556
| 429 | 557
| 430 | 558
| 431 | 559
| 432 | 560
| 433 | 561
| 434 | 562
| 435 | 563
| 436 | 564
| 437 | 565
| 438 | 566
| 439 | 567
| 440 | 568
| 441 | 569
| 442 | 570
| 443 | 571
| 444 | 572
| 445 | 573
| 446 | 574
| 447 | 575
| 448 | 576
| 449 | 577
| 450 | 578
| 451 | 579
| 452 | 580
| 453 | 581
| 454 | 582
| 455 | 583
| 456 | 584
| 457 | 585
| 458 | 586
| 459 | 587
| 460 | 588
| 461 | 589
| 462 | 590
| 463 | 591
| 464 | 592
| 465 | 593
| 466 | 594
| 467 | 595
| 468 | 596
| 469 | 597
| 470 | 598
| 471 | 599
| 472 | 600
| 473 | 601
| 474 | 602
| 475 | 603
| 476 | 604
| 477 | 605
| 478 | 606
| 479 | 607
| 480 | 608
| 481 | 609
| 482 | 610
| 483 | 611
| 484 | 612
| 485 | 613
| 486 | 614
| 487 | 615
| 488 | 616
| 489 | 617
| 490 | 618
| 491 | 619
| 492 | 620
| 493 | 621
| 494 | 622
| 495 | 623
| 496 | 624
| 497 | 625
| 498 | 626
| 499 | 627
| 500 | 628
| 501 | 629
| 502 | 630
| 503 | 631
| 504 | 632
| 505 | 633
| 506 | 634
| 507 | 635
| 508 | 636
| 509 | 637
| 510 | 638
| 511 | 639
| 512 | 640
| 513 | 641
| 514 | 642
| 515 | 643
| 516 | 644
| 517 | 645
| 518 | 646
| 519 | 647
| 520 | 648
| 521 | 649
| 522 | 650
| 523 | 651
| 524 | 652
| 525 | 653
| 526 | 654
| 527 | 655
| 528 | 656
| 529 | 657
| 530 | 658
| 531 | 659
| 532 | 660
| 533 | 661
| 534 | 662
| 535 | 663
| 536 | 664
| 537 | 665
| 538 | 666
| 539 | 667
| 540 | 668
| 541 | 669
| 542 | 670
| 543 | 671
| 544 | 672
| 545 | 673
| 546 | 674
| 547 | 675
| 548 | 676
| 549 | 677
| 550 | 678
| 551 | 679
| 552 | 680
| 553 | 681
| 554 | 682
| 555 | 683
| 556 | 684
| 557 | 685
| 558 | 686
| 559 | 687
| 560 | 688
| 561 | 689
| 562 | 690
| 563 | 691
| 564 | 692
| 565 | 693
| 566 | 694
| 567 | 695
| 568 | 696
| 569 | 697
| 570 | 698
| 571 | 699
| 572 | 700
| 573 | 701
| 574 | 702
| 575 | 703
| 576 | 704
| 577 | 705
| 578 | 706
| 579 | 707
| 580 | 708
| 581 | 709
| 582 | 710
| 583 | 711
| 584 | 712
| 585 | 713
| 586 | 714
| 587 | 715
| 588 | 716
| 589 | 717
| 590 | 718
| 591 | 719
| 592 | 720
| 593 | 721
| 594 | 722
| 595 | 723
| 596 | 724
| 597 | 725
| 598 | 726
| 599 | 727
| 600 | 728
| 601 | 729
| 602 | 730
| 603 | 731
| 604 | 732
| 605 | 733
| 606 | 734
| 607 | 735
| 608 | 736
| 609 | 737
| 610 | 738
| 611 | 739
| 612 | 740
| 613 | 741
| 614 | 742
| 615 | 743
| 616 | 744
| 617 | 745
| 618 | 746
| 619 | 747
| 620 | 748
| 621 | 749
| 622 | 750
| 623 | 751
| 624 | 752
| 625 | 753
| 626 | 754
| 627 | 755
| 628 | 756
| 629 | 757
| 630 | 758
| 631 | 759
| 632 | 760
| 633 | 761
| 634 | 762
| 635 | 763
| 636 | 764
| 637 | 765
| 638 | 766
| 639 | 767
| 640 | 768
| 641 | 769
| 642 | 770
| 643 | 771
| 644 | 772
| 645 | 773
| 646 | 774
| 647 | 775
| 648 | 776
| 649 | 777
| 650 | 778
| 651 | 779
| 652 | 780
| 653 | 781
| 654 | 782
| 655 | 783
| 656 | 784
| 657 | 785
| 658 | 786
| 659 | 787
| 660 | 788
| 661 | 789
| 662 | 790
| 663 | 791
| 664 | 792
| 665 | 793
| 666 | 794
| 667 | 795
| 668 | 796
| 669 | 797
| 670 | 798
| 671 | 799
| 672 | 800
| 673 | 801
| 674 | 802
| 675 | 803
| 676 | 804
| 677 | 805
| 678 | 806
| 679 | 807
| 680 | 808
| 681 | 809
| 682 | 810
| 683 | 811
| 684 | 812
| 685 | 813
| 686 | 814
| 687 | 815
| 688 | 816
| 689 | 817
| 690 | 818
| 691 | 819
| 692 | 820
| 693 | 821
| 694 | 822
| 695 | 823
| 696 | 824
| 697 | 825
| 698 | 826
| 699 | 827
| 700 | 828
| 701 | 829
| 702 | 830
| 703 | 831
| 704 | 832
| 705 | 833
| 706 | 834
| 707 | 835
| 708 | 836
| 709 | 837
| 710 | 838
| 711 | 839
| 712 | 840
| 713 | 841
| 714 | 842
| 715 | 843
| 716 | 844
| 717 | 845
| 718 | 846
| 719 | 847
| 720 | 848
| 721 | 849
| 722 | 850
| 723 | 851
| 724 | 852
| 725 | 853
| 726 | 854
| 727 | 855
| 728 | 856
| 729 | 857
| 730 | 858
| 731 | 859
| 732 | 860
| 733 | 861
| 734 | 862
| 735 | 863
| 736 | 864
| 737 | 865
| 738 | 866
| 739 | 867
| 740 | 868
| 741 | 869
| 742 | 870
| 743 | 871
| 744 | 872
| 745 | 873
| 746 | 874
| 747 | 875
| 748 | 876
| 749 | 877
| 750 | 878
| 751 | 879
| 752 | 880
| 753 | 881
| 754 | 882
| 755 | 883
| 756 | 884
| 757 | 885
| 758 | 886
| 759 | 887
| 760 | 888
| 761 | 889
| 762 | 890
| 763 | 891
| 764 | 892
| 765 | 893
| 766 | 894
| 767 | 895
| 768 | 896
| 769 | 897
| 770 | 898
| 771 | 899
| 772 | 900
| 773 | 901
| 774 | 902
| 775 | 903
| 776 | 904
| 777 | 905
| 778 | 906
| 779 | 907
| 780 | 908
| 781 | 909
| 782 | 910
| 783 | 911
| 784 | 912
| 785 | 913
| 786 | 914
| 787 | 915
| 788 | 916
| 789 | 917
| 790 | 918
| 791 | 919
| 792 | 920
| 793 | 921
| 794 | 922
| 795 | 923
| 796 | 924
| 797 | 925
| 798 | 926
| 799 | 927
| 800 | 928
| 801 | 929
| 802 | 930
| 803 | 931
| 804 | 932
| 805 | 933
| 806 | 934
| 807 | 935
| 808 | 936
| 809 | 937
| 810 | 938
| 811 | 939
| 812 | 940
| 813 | 941
| 814 | 942
| 815 | 943
| 816 | 944
| 817 | 945
| 818 | 946
| 819 | 947
| 820 | 948
| 821 | 949
| 822 | 950
| 823 | 951
| 824 | 952
| 825 | 953
| 826 | 954
| 827 | 955
| 828 | 956
| 829 | 957
| 830 | 958
| 831 | 959
| 832 | 960
| 833 | 961
| 834 | 962
| 835 | 963
| 836 | 964
| 837 | 965
| 838 | 966
| 839 | 967
| 840 | 968
| 841 | 969
| 842 | 970
| 843 | 971
| 844 | 972
| 845 | 973
| 846 | 974
| 847 | 975
| 848 | 976
| 849 | 977
| 850 | 978
| 851 | 979
| 852 | 980
| 853 | 981
| 854 | 982
| 855 | 983
| 856 | 984
| 857 | 985
| 858 | 986
| 859 | 987
| 860 | 988
| 861 | 989
| 862 | 990
| 863 | 991
| 864 | 992
| 865 | 993
| 866 | 994
| 867 | 995
| 868 | 996
| 869 | 997
| 870 | 998
| 871 | 999
| 872 | 1000
| 873 | 1001
| 874 | 1002
| 875 | 1003
| 876 | 1004
| 877 | 1005
| 878 | 1006
| 879 | 1007
| 880 | 1008
| 881 | 1009
| 882 | 1010
| 883 | 1011
| 884 | 1012
| 885 | 1013
| 886 | 1014
| 887 | 1015
| 888 | 1016
| 889 | 1017
| 890 | 1018
| 891 | 1019
| 892 | 1020
| 893 | 1021
| 894 | 1022
| 895 | 1023
| 896 | 1024
| 897 | 1025
| 898 | 1026
| 899 | 1027
| 900 | 1028
| 901 | 1029
| 902 | 1030
| 903 | 1031
| 904 | 1032
| 905 | 1033
| 906 | 1034
| 907 | 1035
| 908 | 1036
| 909 | 1037
| 910 | 1038
| 911 | 1039
| 912 | 1040
| 913 | 1041
| 914 | 1042
| 915 | 1043
| 916 | 1044
| 917 | 1045
| 918 | 1046
| 919 | 1047
| 920 | 1048
| 921 | 1049
| 922 | 1050
| 923 | 1051
| 924 | 1052
| 925 | 1053
| 926 | 1054
| 927 | 1055
| 928 | 1056
| 929 | 1057
| 930 | 1058
| 931 | 1059
| 932 | 1060
| 933 | 1061
| 934 | 1062
| 935 | 1063
| 936 | 1064
| 937 | 1065
| 938 | 1066
| 939 | 1067
| 940 | 1068
| 941 | 1069
| 942 | 1070
| 943 | 1071
| 944 | 1072
| 945 | 1073
| 946 | 1074
| 947 | 1075
| 948 | 1076
| 949 | 1077
| 950 | 1078
| 951 | 1079
| 952 | 1080
| 953 | 1081
| 954 | 1082
| 955 | 1083
| 956 | 1084
| 957 | 1085
| 958 | 1086
| 959 | 1087
| 960 | 1088
| 961 | 1089
| 962 | 1090
| 963 | 1091
| 964 | 1092
| 965 | 1093
| 966 | 1094
| 967 | 1095
| 968 | 1096
| 969 | 1097
| 970 | 1098
| 971 | 1099
| 972 | 1100
| 973 | 1101
| 974 | 1102
| 975 | 1103
| 976 | 1104
| 977 | 1105
| 978 | 1106
| 979 | 1107
| 980 | 1108
| 981 | 1109
| 982 | 1110
| 983 | 1111
| 984 | 1112
| 985 | 1113
| 986 | 1114
| 987 | 1115
| 988 | 1116
| 989 | 1117
| 990 | 1118
| 991 | 1119
| 992 | 1120
| 993 | 1121
| 994 | 1122
| 995 | 1123
| 996 | 1124
| 997 | 1125
| 998 | 1126
| 999 | 1127
| 1000 | 1128
| 1001 | 1129
| 1002 | 1130
| 1003 | 1131
| 1004 | 1132
| 1005 | 1133
| 1006 | 1134
| 1007 | 1135
| 1008 | 1136
| 1009 | 1137
| 1010 | 1138
| 1011 | 1139
| 1012 | 1140
| 1013 | 1141
| 1014 | 1142
| 1015 | 1143
| 1016 | 1144
| 1017 | 1145
| 1018 | 1146
| 1019 | 1147
| 1020 | 1148
| 1021 | 1149
| 1022 | 1150
| 1023 | 1151
| 1024 | 1152
| 1025 | 1153
| 1026 | 1154
| 1027 | 1155
| 1028 | 1156
| 1029 | 1157
| 1030 | 1158
| 1031 | 1159
| 1032 | 1160
| 1033 | 1161
| 1034 | 1162
| 1035 | 1163
| 1036 | 1164
| 1037 | 1165
| 1038 | 1166
| 1039 | 1167
| 1040 | 1168
| 1041 | 1169
| 1042 | 1170
| 1043 | 1171
| 1044 | 1172
| 1045 | 1173
| 1046 | 1174
| 1047 | 1175
| 1048 | 1176
| 1049 | 1177
| 1050 | 1178
| 1051 | 1179
| 1052 | 1180
| 1053 | 1181
| 1054 | 1182
| 1055 | 1183
| 1056 | 1184
| 1057 | 1185
| 1058 | 1186
| 1059 | 1187
| 1060 | 1188